Note: This document shall be used for closing on Installations of all automatic fire detection and alarm systems.  This form must be filled out in Microsoft word, and must be saved to a different file name on your computer.

Name of Protected Property:

Property Address:

Property Owner/APIC:      	Phone #:

Authority Having Jurisdiction:

Address:      	  Phone:

- TYPE OF SYSTEM OR SERVICE

NFPA 72, Chapter #3-Local

If alarm is transmitted to location(s) off premises, list where the signal is received below.

Location:

NFPA 72, Chapter #3-Emergency Voice/Alarm Service

Quantity of Voice Alarm Channels: 	     	Single:      	Multiple:

Quantity of Speakers Installed:		     	Quantity of Speaker Zones:

Quantity of Telephones or Telephone Jacks included in System:

NFPA 72, Chapter #6-Auxillary

Indicate type of Connection:

Local Energy		Shunt	Parallel Telephone

NFPA 72, Chapter #5-Remote Station

Alarm:

Supervisory:

NFPA 72, Chapter #5-Proprietary

If alarms are transmitted to public fire service communication centers, or others, indicate location and telephone numbers of the organization, receiving the alarm.

Name of Organization(s):

Telephone #’s:

NFPA 72, Chapter #5-Central Station

Prime Contractor:

Central Station Location:

Means of transmission from the protected premises, to the Central Station;

McCollough	Multiplex	One-Way Radio	Two-Way Radio

Digital Alarm Communicator	Other:

Means of Transmission of signals to the public fire communications center,

A:

B:

System Location:

Installer: 	Organization Name:       Phone:       Representative Name:       Phone:

Supplier: 	Organization Name:       Phone:       Representative Name:       Phone:

Service Provider: Organization Name:       Phone:       Representative Name:       Phone:

Location of Record (as-built) Drawings:

Location of Owner’s Manuals:

Location of Test Reports:

A Contract, dated:      , for test and inspection in accordance with NFPA Standard(s).

No(s).       , Dated:      , is in effect.

2. Record of System Installation

(fill out after installation is complete and wiring checked for opens, shorts, ground faults, and improper branching, but prior to conducting operational acceptance tests)

This system has been in accordance with NFPA standards as shown below, was inspected

By        on (date)      , includes the devices shown below , and has been in service since:

NFPA 72 Chapters 1 2 3 4 5 6 7 (check all that apply)

NFPA 70 National Electrical Code, Article 760

Manufacturer’s Instructions

Other (Specify):

Signed: _____________________________________________	Date: __________________________________

Organization:

3.Record of System Operation

All operational features and functions of this system were tested by, (Name)       , on       and were found to be operating properly in accordance with the requirements of,

NFPA 72 Chapters 1 2 3 4 5 6 7 (check all that apply)

NFPA 70 National Electrical Code, Article 760

Manufacturer’s Instructions

Other (Specify):

Signed: _____________________________________________	Date: __________________________________

Organization:

4. Alarm-initiating Device Circuits

Quantity and class of initiating-device circuits (see NFPA 72 Table 3-5) Quantity:       Style:       Class:

MANUAL

(a)       Manual Stations        Non-Coded Activating        Transmitters        Coded

(b)       Combination manual fire alarm and guard’s tour coded stations.

AUTOMATIC

Coverage: Complete  Partial

(a)       Smoke Detectors  	      Ionization        Photoelectric

(b)       Duct Detectors  	      Ionization        Photoelectric

(c)       Heat Detectors  	      FT        RR       FT/RR        RC

(d)       Sprinkler Water Flow Switches       Transmitters        Non-Coded Activating       Coded

(e) Other, (please Specify):

5.Supervisory Signal-Initiating Devices and Circuits (indicate quantity of devices)

GUARD’S TOUR

- Coded Stations

- Non-Coded Stations, Activating        Transmitters

- Compulsory guard tour system comprised of       transmitter stations, and       Intermediate stations

Note: Combination Devices are reordered under 4(b) and 5(a)

SPRINKLER SYSTEM

(a)       Coded valve supervisory signaling attachments

Valve supervisory switches, activating       Transmitters

(b)       Building temperature points

(c)       Site water temperature points

(d)       Site Water Level Points

Electric Fire Pump

(e)       Fire Pump Power

(f)        Fire Pump Running

(g)       Phase Reversal

Engine-Driven Fire Pump

(h)       Selector in Auto Position

(I)        Engine or Control Panel Trouble

(j)        Fire Pump Running

Engine-Driven Generator

(k)       Selector in Auto Position

(l)       Control Panel Trouble

(m)       Transfer switches

(n)       Engine Running

Other Supervisory Functions: (Please Specify):

6. Alarm Notification Appliances

Quantity and Class (see NFPA 72 Table 3-7) of notification appliance circuits connected to the system

Types and Quantities of notification appliances Installed:  Quantity:         Style:        Class:

(a)       Bells       Inch

(b)       Speakers

(c)       Horns

(d)       Chimes

(e)       Other:

(f)        Visual Signals  Type:         With Audible:        Without Audible:

(g)       Local Annunciator

7. Signaling Line Circuits

Quantity and Class (see NFPA 72 , Table 3-6) of signaling line circuits connected to system.

Quantity:        Style:        Class:

8. System Power Supplies

- Primary (main):       Nominal Voltage:       Current Rating:

Over current Protection:  Type:       Current Rating:

Location:

- Secondary (standby)

Storage Battery    Amp-hour Rating:

Calculated capacity to drive system, in hours:       24        60

Engine Driven Generator Connected to Fire Alarm System

Location of fuel storage:

- Emergency or standby system used as backup to primary power supply, instead of using secondary power supply:

Emergency System Described in NFPA 70, Article 700

Legally required standby system described in NFPA 70, Article 701

Optional Standby system as described in NFPA 70, Article 702, which also meets the requirements of article

700 or 701.

9. System Software

- Operational software revision Level(s)

- Application software revision Level(s)

- Revision by,  Name:         Date:

10. Comments:

Signed for Central Station or Alarm Service Company or installation contractor/supplier                      Title                                                 Date

Frequency of routine tests and inspections, if other than in accordance with the referenced NFPA Standard(s): Not Applicable

System Deviations from the reference standard(s) are: Not Applicable

Signed for Central Station or Alarm Service Company or installation contractor/supplier                      Title                                                 Date

Upon Completion of the system(s) satisfactory test(s) witnessed (if required by the Authority Having Jurisdiction):

________________________________________________________________________________________________________

Signed Representative of the Authority Having Jurisdiction                                                         Title                               Date